## Sheet1
ISO | Queue Position | Project Name | Queue Date | Summer MW | Winter MW | Technology | County | State | POI Name | Project Status | Availability of Studies | Projected COD | Transmission Owner
NYISO | 0276 | Homer Solar Energy Center | 2008-01-30 | 90 | 90 | Solar | Cortland | NY | Cortland - Fenner 115kV | IA Completed | FES, SRIS, FS | 04-2026 | Homer Solar Energy Center LLC , NM-NG
NYISO | 0396A | Wood Street Transformer | 2012-12-14 |  |  | AC | Putnam | NY | Wood St. 345/115kV | Under Construction | SIS |  | NY State Electric & Gas , NYSEG
NYISO | 0429 | North Rockland Station | 2014-02-12 |  |  | AC | Steuben | NY | Line Y88 345kV | Under Construction | SIS |  | Orange & Rockland , ConEd
NYISO | 0430 | Cedar Rapids Transmission | 2014-03-05 |  |  | AC | St. Lawrence | NY | Dennison - Alcoa 115kV | Under Construction | SIS, FS |  | H.Q. Energy Services U.S. Inc. , NM-NG
NYISO | 0495 | Mohawk Solar | 2015-04-02 | 90.5 | 90.5 | Solar | Montgomery | NY | St. Johnsville - Marshville 115kV | IA Completed | FES, SRIS, FS | 11/2027 | Mohawk Solar LLC , NM-NG
NYISO | 0519 | Canisteo Wind | 2015-11-02 | 289.8 | 289.8 | Wind | Steuben | NY | Bennett 115kV | Accepted Cost Allocation/IA in Progress | FES, SRIS, FS | 12-2027 | Canisteo Wind Energy LLC , NYSEG
NYISO | 0521 | Bull Run II Wind | 2015-12-15 | 449 | 449 | Wind | Clinton | NY | Patnode-Duley, Ryan-Plattsburgh 230kV | Accepted Cost Allocation/IA in Progress | FES, SRIS, FS | 12-2026 | Bull Run Energy LLC , NYPA
NYISO | 0522 | NYC Energy | 2015-12-16 | 79.9 | 79.9 | Energy Storage | Kings | NY | Hudson Avenue East 138kV | Accepted Cost Allocation/IA in Progress | FES, SRIS | 06-2027 | NYC Energy LLC , ConEd
NYISO | 0535 | Riverhead Solar 2 | 2016-02-23 | 36 | 36 | Solar | Suffolk | NY | Edwards 138kV | IA Completed | FES, SRIS, FS | 01-2027 | Riverhead Solar 2, LLC , LIPA
NYISO | 0543 | Segment B Knickerbocker-PV | 2016-05-04 |  |  | AC | Albany-Dutchess | NY | Greenbush - PV 345kV | Under Construction | SIS |  | National Grid , NM-NG/NYSEG/ CHGE/ConEd
NYISO | 0545 | Sky High Solar | 2016-05-16 | 20 | 20 | Solar | Onondaga | NY | Tilden -Tully Center 115kV | IA Completed | FES, SIS, FS | 06-2025 | Sky High Solar, LLC , NM-NG
NYISO | 0564 | Rock District Solar | 2016-07-25 | 20 | 20 | Solar | Schoharie | NY | Sharon - Cobleskill 69kV | IA Completed | SIS, FS | 02-2027 | Rock District Solar, LLC , NM-NG
NYISO | 0565 | Tayandenega Solar | 2016-07-25 | 20 | 20 | Solar | Montgomery | NY | St. Johnsville - Inghams 115kV | IA Completed | SIS, FS | 02-2027 | Tayandenega Solar, LLC , NM-NG
NYISO | 0566 | MA 1 & 2 Rebuild | 2016-08-04 |  |  | AC | St. Lawrence-Lewis | NY | Moses & Adirondack 230kV | Under Construction | SIS |  | NY Power Authority , NYPA
NYISO | 0571 | Heritage Wind | 2016-09-01 | 200.1 | 200.1 | Wind | Genesee | NY | Lockport - Mortimer 115kV | IA Completed | FES, SRIS, FS | 09-2026 | Heritage Wind, LLC , NM-NG
NYISO | 0572 | Greene County 1 | 2016-09-06 | 20 | 20 | Solar | Greene | NY | Coxsackie - North Catskill 69kV | IA Completed | SIS, FS | 05-2025 | Hecate Energy Greene 1 LLC , CHG&E
NYISO | 0573 | Greene County 2 | 2016-09-06 | 10 | 10 | Solar | Greene | NY | Coxsackie 13.8kV | IA Completed | SIS, FS | 05-2025 | Hecate Energy Greene 2 LLC , CHG&E
NYISO | 0575 | Little Pond Solar | 2016-09-16 | 20 | 20 | Solar | Orange | NY | Mongaup - Shoemaker 69kV | IA Completed | FES, SIS, FS | 01-2025 | Little Pond Solar, LLC , O&R
NYISO | 0580 | WNY STAMP | 2016-09-27 | 300 | 300 | Load | Genesee | NY | Kintigh/Niagara - New Rochester 345kV | Under Construction | SIS |  | Genesee County Economic Devel. , NYPA
NYISO | 0581 | Hills Solar | 2016-10-06 | 20 | 20 | Solar | Herkimer | NY | Fairfield - Inghams 115kV | IA Completed | FES, SIS, FS | 12-2026 | SunEast Hills Solar LLC , NM-NG
NYISO | 0584 | Dog Corners Solar | 2016-11-02 | 20 | 20 | Solar | Cayuga | NY | Aurora 34.5kV | IA Completed | SIS, FS | 04-2026 | SunEast Dog Corners Solar LLC , NYSEG
NYISO | 0586 | Watkins Rd Solar | 2016-11-08 | 20 | 20 | Solar | Herkimer | NY | Watkins Rd - Ilion 115kV | IA Completed | SIS, FS | 07-2026 | SunEast Watkins Road Solar LLC , NM-NG
NYISO | 0590 | Scipio Solar | 2016-12-02 | 18 | 18 | Solar | Cayuga | NY | Scipio 34.5kV | IA Completed | SIS, FS | 12-2024 | SunEast Scipio Solar LLC. , NYSEG
NYISO | 0591 | Highview Solar | 2016-12-02 | 20 | 20 | Solar | Wyoming | NY | South Perry 34.5kV | IA Completed | SIS, FS | 02-2025 | SunEast Highview Solar LLC , NYSEG
NYISO | 0592 | Niagara Solar | 2016-12-02 | 20 | 20 | Solar | Wyoming | NY | Bennington 34.5kV | IA Completed | SIS, FS | 12-2026 | Niagara NY Solar LLC , NYSEG
NYISO | 0596 | Alle Catt II Wind | 2017-01-04 | 339.1 | 339.1 | Wind | Cattaraugus | NY | Stolle Rd - Five Mile Rd 345kV | Under Construction | SRIS, FS | 12-2026 | Alle-Catt Wind Energy LLC , NM-NG
NYISO | 0617 | Watkins Glen Solar | 2017-03-27 | 50 | 50 | Solar | Schuyler | NY | Bath - Montour Falls 115kV | IA Completed | SRIS, FS | 01-2025 | Watkins Glen Solar Energy Center, LLC , NYSEG
NYISO | 0620 | North Side Solar | 2017-03-27 | 180 | 180 | Solar | St. Lawrence | NY | Massena - Moses 230kV | IA Completed | FES, SRIS, FS | 12-2024 | North Side Energy Center, LLC , NYPA
NYISO | 0631 | NS Power Express | 2017-05-02 | 1000 | 1000 | DC | Quebec - NY | NY | Astoria Annex 345kV | Under Construction | SRIS, FS | 05-2026 | CHPE LLC , NYPA
NYISO | 0637 | Flint Mine Solar | 2017-06-29 | 100 | 100 | Solar | Greene | NY | LaFarge - Pleasant Valley 115kV, Feura Bush - North Catskill 115kV | IA Completed | FES, SRIS, FS | 5-2026 | Flint Mine Solar LLC , NM-NG
NYISO | 0644 | Columbia County 1 | 2017-07-26 | 60 | 60 | Solar | Columbia | NY | Craryville 115kV | IA Completed | FES, SRIS, FS | 2-2027 | Hecate Energy Columbia County 1, LLC , NYSEG
NYISO | 0670 | SunEast Skyline Solar LLC | 2017-09-21 | 20 | 20 | Solar | Westmoreland | NY | Campus Rd - Clinton 46kV | IA Completed | FES, SIS, FS | 4/2028 | SunEast Skyline Solar LLC , NM-NG
NYISO | 0683 | KCE NY 2 | 2018-01-18 | 200 | 200 | Energy Storage | Montgomery | NY | Coldenham 115kV | IA Completed | SRIS, FS | 06-2027 | KCE NY 2, LLC , CHG&E
NYISO | 0704 | Bear Ridge Solar | 2018-03-20 | 100 | 100 | Solar | Niagara | NY | Mountain- Lockport 115kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 02-2025 | Bear Ridge Solar, LLC , NM-NG
NYISO | 0706 | High Bridge Wind | 2018-04-25 | 100.8 | 100.8 | Wind | Chenango | NY | E. Norwich - Jennison 115kV | IA Completed | SRIS, FS | 02-2025 | High Bridge Wind, LLC , NYSEG
NYISO | 0710 | Horseshoe Solar | 2018-05-29 | 180 | 180 | Solar | Livingston | NY | Golah 115kV | Accepted Cost Allocation/IA in Progress | FES, FS | 12-2025 | Horseshoe Solar Energy LLC , NM-NG
NYISO | 0716 | Moraine Solar Energy Center | 2018-06-04 | 93.5 | 93.5 | Solar | Allegany | NY | Moraine 115kV | Accepted Cost Allocation/IA in Progress | FES, SRIS | 10-2027 | EDF Renewables Development, Inc. , NYSEG
NYISO | 0720 | Trelina Solar Energy Center | 2018-06-07 | 79.8 | 79.8 | Solar | Seneca | NY | Border City - Station 168 115 KV | IA Completed | SRIS, FS | 01-2025 | Trelina Solar Energy Center, LLC , NYSEG
NYISO | 0721 | Excelsior Energy Center | 2018-06-07 | 280 | 280 | Solar | Genesee | NY | Dysinger - N. Rochester 345kV | IA Completed | SRIS, FS | 11-2026 | Excelsior Energy Center, LLC , NYPA
NYISO | 0734 | Ticonderoga Solar | 2018-06-12 | 20 | 20 | Solar | Essex | NY | Ticonderoga 115kV - Republic Line 2 | IA Completed | FES, SIS, FS | 03-2025 | ELP Ticonderoga Solar LLC , NM-NG
NYISO | 0737 | Empire Wind 1 | 2018-06-12 | 816 | 816 | Off-Shore Wind | Kings | NY | Gowanus 345kV | IA Completed | SRIS, FS | 12-2026 | Empire Offshore Wind LLC , ConEd
NYISO | 0744 | Magruder BESS | 2018-07-18 | 20 | 20 | Energy Storage | Ulster | NY | East Walden - Modena 115kV | IA Completed | SIS, FS | 01-2025 | Mitchell Energy Facility, LLC , CHG&E
NYISO | 0766 | Sunrise Wind | 2018-09-28 | 880 | 880 | Off-Shore Wind | Suffolk | NY | Holbrook 138kV & West Bus 138kV | IA Completed | SRIS, FS | 03-2026 | Sunrise Wind LLC , LIPA
NYISO | 0774 | Tracy Solar Energy Centre | 2018-10-18 | 119 | 119 | Solar | Jefferson | NY | Thousand Island - Lyme 115kV | Accepted Cost Allocation/IA in Progress | SRIS | 11-2028 | EDF Renewables Development, Inc. , NM-NG
NYISO | 0776 | Greenidge Load | 2018-10-22 | 60 | 60 | Load | Yates | NY | Greenidge 115kV | FS Pending | SIS |  | Greenidge Generation LLC , NYSEG
NYISO | 0777 | White Creek Solar | 2018-11-01 | 135 | 135 | Solar | Livingston | NY | Sta 82 - Sta 128 115kV | Accepted Cost Allocation/IA in Progress | SRIS | 11-2027 | White Creek Solar, LLC , RG&E
NYISO | 0783 | South Ripley Solar and BESS | 2018-12-07 | 270 | 270 | Energy Storage + Solar | Chautauqua | NY | South Ripley Substation 230kV | Accepted Cost Allocation/IA in Progress | FES, SRIS, FS | 01-2027 | ConnectGen Chautauqua County LLC , NM-NG
NYISO | 0787 | Levy Grid, LLC | 2018-12-20 | 150 | 150 | Energy Storage | Erie | NY | Gardenville Subsation 115kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 08-2025 | Levy Grid, LLC , NM-NG
NYISO | 0800 | Rich Road Solar Energy Center | 2019-02-20 | 240 | 240 | Energy Storage + Solar | St. Lawrence | NY | Moses - Adirondack 230 kV Line #2 (MA2) | Accepted Cost Allocation/IA in Progress | FES, SRIS | 04-2028 | EDF Renewables Development, Inc. , NYPA
NYISO | 0801 | Prattsburgh Wind Farm | 2019-02-21 | 147 | 147 | Wind | Steuben | NY | Stoney Ridge - Canadaigua 230kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 12-2025 | Prattsburgh Wind, LLC , NYSEG
NYISO | 0804 | KCE NY 10 | 2019-03-22 | 20 | 20 | Energy Storage | Erie | NY | Erie Substation 34.5kV | IA Completed | FES, SIS, FS | 10-2026 | KCE NY 10, LLC , NYSEG
NYISO | 0805 | Oxbow Hill Solar | 2019-03-22 | 140 | 140 | Solar | Madison | NY | Fenner 115kV Substation | Accepted Cost Allocation/IA in Progress | FES, FS | 12-2026 | Oxbow Hill Solar, LLC , NM-NG
NYISO | 0807 | Hilltop Solar | 2019-03-28 | 20 | 20 | Solar | Rensselaer | NY | Eastover - Schaghticoke 115kV | IA Completed | SIS, FS | 05/2028 | SunEast Hilltop Solar LLC , NM-NG
NYISO | 0811 | Cider Solar | 2019-04-03 | 500 | 500 | Solar | Genesee | NY | Dysinger - New Rochester 345kV | IA Completed | SRIS, FS | 01-2027 | Hecate Energy Cider Solar LLC , NYPA
NYISO | 0815 | Bayonne Energy Center III | 2019-04-05 | 49.8 | 49.8 | Energy Storage | Kings | NY | Gowanus 345kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 09-2026 | Bayonne Energy Center , ConEd
NYISO | 0825 | Setauket Energy Storage | 2019-04-15 | 65.3 | 65.3 | Energy Storage | Suffolk | NY | Port Jefferson - Terryville 69kV | FS in Progress | FES, SRIS | 04-2028 | Setauket Energy Storage, LLC , LIPA
NYISO | 0827 | Arthur Kill Energy Storage 1 | 2019-04-22 | 15 | 15 | Energy Storage | Richmond | NY | Fresh Kills 13.8kV | IA Completed | FS | 09-2025 | GB Arthur Kill Storage LLC , ConEd
NYISO | 0828 | Valley Solar | 2019-04-24 | 20 | 20 | Solar | Tioga | NY | Owego 34.5kV Substation | IA Completed | SIS, FS | 11-2024 | SunEast Valley Solar LLC , NYSEG
NYISO | 0832 | CS Hawthorn Solar | 2019-05-06 | 20 | 20 | Solar | Rensselaer | NY | North Troy - Hoosick 115kV | IA Completed | FES, FS | 12-2026 | Hawthorn Solar, LLC , NM-NG
NYISO | 0833 | Dolan Solar | 2019-05-06 | 20 | 20 | Solar | Washington | NY | Battenkill - Mohican 115kV | IA Completed | SIS, FS | 12-2026 | Dolan Solar, LLC , NM-NG
NYISO | 0834 | Luyster Creek Energy Storage 2 | 2019-05-07 | 79 | 79 | Energy Storage | Queens | NY | Astoria West 138kV | Accepted Cost Allocation/IA in Progress | SRIS | 05-2027 | Astoria Generating Company, LP , ConEd
NYISO | 0835 | Luyster Creek Energy Storage 1 | 2019-05-07 | 56.3 | 57.3 | Energy Storage | Queens | NY | Astoria West 138kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 05-2026 | Astoria Generating Company, LP , ConEd
NYISO | 0843 | NY37 Solar | 2019-05-17 | 20 | 20 | Solar | Jefferson | NY | Coffeen - West Adams 115kV Substation | Accepted Cost Allocation/IA in Progress | SIS, FS | 11-2025 | Sandy Creek Solar LLC , NM-NG
NYISO | 0848 | Fairway Solar | 2019-05-20 | 20 | 20 | Solar | St. Lawrence | NY | McIntyre - Corning 115kV (Line#6) | IA Completed | SIS, FS | 03-2025 | SunEast Fairway Solar LLC , NM-NG
NYISO | 0850 | Cayuga Load | 2019-05-21 | 50 | 50 | Load | Cayuga | NY | Milliken 115kV | FS Pending | SIS |  | Cayuga Operating Company, LLC , NYSEG
NYISO | 0855 | NY13 Solar | 2019-05-24 | 20 | 20 | Solar | Washington | NY | Mohican - Schaghticoke 115kV | IA Completed | SIS, FS | 06-2025 | Bald Mountain Solar LLC , NM-NG
NYISO | 0863 | Highbanks Solar | 2019-05-29 | 20 | 20 | Solar | Livingston | NY | S158 High banks 34.5 kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 02-2026 | Highbanks Solar LLC , RG&E
NYISO | 0864 | NY38 Solar | 2019-05-29 | 120 | 120 | Solar | Jefferson | NY | Coffeen - West Adams 115kV | IA Completed | SRIS, FS | 12-2026 | Greens Corners Solar LLC , NM-NG
NYISO | 0865 | Flat Hill Solar | 2019-05-31 | 20 | 20 | Solar | Herkimer | NY | Inghams-Valley 46kV Line 27 | IA Completed | SIS, FS | 12-2025 | SunEast Flat Hill Solar LLC , NM-NG
NYISO | 0880 | Brookside Solar | 2019-06-10 | 100 | 100 | Solar | Franklin | NY | Chateaugay - Willis 115kV | Accepted Cost Allocation/IA in Progress | SRIS | 06-2027 | Brookside Solar, LLC , NYSEG
NYISO | 0882 | Riverside Solar | 2019-06-10 | 100 | 100 | Solar | Jefferson | NY | Lyme Substation 115kV | Accepted Cost Allocation/IA in Progress | FES, SRIS | 12-2027 | Riverside Solar, LLC , NM-NG
NYISO | 0883 | Garnet Energy Center | 2019-06-11 | 200 | 200 | Solar | Cayuga | NY | Pannell - Clay 345kV | Accepted Cost Allocation/IA in Progress | FS | 11-2025 | Garnet Energy Center, LLC , NYPA
NYISO | 0885 | Grassy Knoll Solar | 2019-06-12 | 20 | 20 | Solar | Herkimer | NY | Watkins Rd - Inghams 115kV | IA Completed | SIS, FS | 12-2025 | SunEast Grassy Knoll Solar LLC , NM-NG
NYISO | 0887 | CH Uprate | 2019-06-12 | 250 | 250 | DC | Quebec-NY | NY | Astoria Annex 345kV | Under Construction | SRIS, FS | 05-2026 | CHPE LLC , NYPA
NYISO | 0899 | Scriba-Volney Series Reactor | 2019-08-02 |  |  | AC | Oswego | NY | Volney - Scriba 345 kV | Accepted Cost Allocation/IA in Progress | SIS |  | Sithe/Independence Power Partners, LP , NM-NG
NYISO | 0907 | Harlem River Yard | 2019-09-04 | 79.9 | 79.9 | Energy Storage | Queens | NY | Hell Gate 138kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 12-2026 | Harlem River ESS, LLC , NYPA
NYISO | 0930 | Astoria BES to 27kV North Queens | 2019-10-25 | 15 | 15 | Energy Storage | Queens | NY | North Queens 27kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 12-2025 | Astoria Generating Company, LP , ConEd
NYISO | 0931 | Astoria Energy Storage | 2019-10-28 | 100 | 100 | Energy Storage | Queens | NY | Astoria West 138kV | Accepted Cost Allocation/IA in Progress | SRIS, FS | 03-2026 | East River ESS, LLC , ConEd
NYISO | 0932 | Hatchery Solar | 2019-10-29 | 20 | 20 | Solar | Livingston | NY | Caledonia - Golah 34.5 kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 05-2025 | Hatchery Solar LLC , NM-NG
NYISO | 0950 | Hemlock Ridge Solar | 2019-11-21 | 200 | 200 | Solar | Orleans | NY | Lockport - Mortimer 115kV | Accepted Cost Allocation/IA in Progress | SRIS | 08-2027 | Hemlock Ridge Solar LLC , NM-NG
NYISO | 0953 | Sugar Maple Solar | 2019-12-05 | 125 | 125 | Solar | Lewis | NY | North Carthage - Taylorville #8 and Black River - Taylorville #2 115kV | Accepted Cost Allocation/IA in Progress | SRIS | 12-2027 | Sugar Maple Solar, LLC , NM-NG
NYISO | 0956 | Holtsville 138kV Energy Storage | 2019-12-10 | 110 | 110 | Energy Storage | Suffolk | NY | West Bus 138 kV | IA Completed | SRIS, FS | 09-2026 | Holtsville Energy Storage, LLC , LIPA
NYISO | 0957 | Holbrook Energy Storage | 2019-12-10 | 76.8 | 76.8 | Energy Storage | Suffolk | NY | Holtsville - Patchogue 69kV | FS in Progress | SRIS | 12-2027 | Holbrook Energy Storage, LLC , LIPA
NYISO | 0960 | Cobleskill Solar | 2019-12-12 | 20 | 20 | Solar | Schoharie | NY | Cobleskill - Schoharie 69KV | FS in Progress | FES, SIS | 12-2025 | SWEB Development USA, LLC , NM-NG
NYISO | 0965 | Yaphank Energy Storage | 2019-12-21 | 76.8 | 77.6 | Energy Storage | Suffolk | NY | William Floyd - Brookhaven 69kV | IA Completed | FS | 09-2026 | Yaphank Energy Storage, LLC , LIPA
NYISO | 0967 | KCE NY 5 | 2019-12-27 | 94 | 94 | Energy Storage | Ulster | NY | Ohioville 115 kV | Accepted Cost Allocation/IA in Progress | SRIS | 12-2027 | KCE NY 5 LLC , CHG&E
NYISO | 0971 | East Setauket Energy Storage | 2020-01-10 | 125 | 125 | Energy Storage | Suffolk | NY | Holbrook - Miller Place 138kV | FS in Progress |  | 04-2027 | Savion, LLC , LIPA
NYISO | 0972 | Warner Hill Solar | 2020-01-10 | 20 | 20 | Solar | Schoharie | NY | Middleburg Tap - Middleburg 69kV | FS in Progress | FES, SIS | 05-2026 | SWEB Development USA, LLC , NM-NG
NYISO | 0979 | North Country Data Center | 2020-01-22 | 176 | 176 | Load | St. Lawrence | NY | Reynolds 115kV | SRIS/SIS Approved | SIS |  | North Country Data Center , NYPA
NYISO | 0987 | Sunrise Wind II | 2020-01-29 | 44 | 44 | Off-Shore Wind | Suffolk | NY | Holbrook 138kV | IA Completed | FS | 03-2026 | Sunrise Wind LLC , LIPA
NYISO | 0995 | Alabama Solar Park LLC | 2020-02-27 | 130 | 130 | Solar | Genesee | NY | Lockport - Batavia 115kV (Line#112) | Accepted Cost Allocation/IA in Progress |  | 10-2028 | Alabama Solar Park LLC , NM-NG
NYISO | 1000 | SunEast Flat Stone Solar LLC | 2020-03-18 | 20 | 20 | Solar | Oneida | NY | Oneida - Rome 115kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 11-2026 | SED NY Holdings LLC , NM-NG
NYISO | 1003 | Clear View Solar | 2020-04-06 | 20 | 20 | Solar | Steuben | NY | Eelpot Road 34.5 kV | IA Completed | SIS, FS | 12-2025 | Clear View LLC , NYSEG
NYISO | 1007 | NYC Energy LLC - Phase 2 | 2020-04-22 | 220.1 | 220.1 | Energy Storage | Kings | NY | Hudson Ave 138 kV | Accepted Cost Allocation/IA in Progress | SRIS | 06-2027 | NYC Energy , ConEd
NYISO | 1009 | Yellow Barn Solar | 2020-04-30 | 160 | 160 | Solar | Tompkins | NY | Milliken - Etna 115 kV line #975 | Accepted Cost Allocation/IA in Progress | SRIS | 12-2025 | Yellow Barn Solar, LLC , NYSEG
NYISO | 1012 | Suffolk County Storage II | 2020-05-04 | 76.8 | 76.8 | Energy Storage | Suffolk | NY | Southold 69 kV | FS in Progress | FES, SRIS | 04-2028 | Suffolk County Energy Storage II , LIPA
NYISO | 1015 | Somers Solar, LLC | 2020-05-05 | 20 | 20 | Solar | Washington | NY | Mohican - Battenkill 115kV | IA Completed | FS | 12-2026 | Granada Solar, LLC , NM-NG
NYISO | 1031 | Mill Point Solar | 2020-06-18 | 250 | 250 | Energy Storage + Solar | Montgomery | NY | Marcy - New Scotland 345kV | Accepted Cost Allocation/IA in Progress | SRIS | 12-2028 | ConnectGen Montgomery County LLC , NM-NG
NYISO | 1039 | Morris Solar | 2021-01-06 | 20 | 20 | Solar | St. Lawrence | NY | Battle Hill - Balmat 115kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 12-2025 | SED NY Holdings LLC , NM-NG
NYISO | 1047 | Millers Grove Solar | 2020-07-09 | 20 | 20 | Solar | Herkimer | NY | Porter - Watkins 115kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 12-2026 | SED NY Holdings LLC , NM-NG
NYISO | 1051 | Transit Solar | 2020-07-21 | 20 | 20 | Solar | Genesee | NY | S.E Batavia - Golah 115kV | FS in Progress | SIS, FS | 12-2025 | SED NY Holding LLC , NM-NG
NYISO | 1079 | Somerset Solar | 2020-08-18 | 125 | 125 | Solar | Niagara | NY | Kintigh 345 kV | Accepted Cost Allocation/IA in Progress | SRIS | 03-2027 | Somerset Solar, LLC , NYSEG
NYISO | 1080 | Mineral Basin Solar Power | 2020-08-21 | 401.6 | 401.6 | Solar | Clearfield | PA | Homer City - Mainesburg 345KV | 10 | SRIS | 05-2028 | Mineral Basin Solar Power, LLC , NYSEG
NYISO | 1089 | Flat Creek Solar | 2020-09-04 | 200 | 200 | Solar | Montgomery | NY | Edic to Princetown 345kV Line 352 | Accepted Cost Allocation/IA in Progress | SRIS | 11-2028 | SED NY Holding LLC , NYPA
NYISO | 1096 | Alfred Oaks Solar | 2020-09-14 | 100 | 100 | Energy Storage + Solar | Allegany | NY | Andover - Palmeter 115 kV, Line 932 | Accepted Cost Allocation/IA in Progress | SRIS | 11-2027 | Northland Power U.S. Projects , NYSEG
NYISO | 1113 | CLIES 20 MW | 2020-11-18 | 20 | 20 | Energy Storage | Suffolk | NY | Sills Road 138 kV | Accepted Cost Allocation/IA in Progress | SIS, FS | 12-2025 | Caithness LI Energy Storage, LLC , LIPA
NYISO | 1115 | Flat Creek Solar 2 | 2020-11-23 | 100 | 100 | Solar | Montgomery | NY | Edic - Princetown 345 kV Line# 352 | Accepted Cost Allocation/IA in Progress | SRIS | 11-2028 | SED NY Holdings LLC , NYPA
NYISO | 1117 | CLIES 70MW | 2020-11-25 | 70 | 70 | Energy Storage | Suffolk | NY | Sills Road 138kV | FS in Progress | SRIS | 12-2026 | Caithness LI Energy Storage, LLC , LIPA
NYISO | 1122 | East Fishkill | 2020-12-11 | 205 | 205 | Energy Storage | Dutchess | NY | Shenandoah 115kV | Accepted Cost Allocation/IA in Progress | SRIS | 11-2028 | Microgrid Networks, LLC , CHG&E
NYISO | 1123 | KCE NY 29 | 2020-12-14 | 150 | 150 | Energy Storage | Suffolk | NY | Kings 138 kV | Accepted Cost Allocation/IA in Progress |  | 10-2027 | KCE NY 29, LLC , LIPA
NYISO | 1125 | Northern NY Priority Transmission Project (NNYPTP) | 2020-12-22 |  |  | AC | St. Lawrence-Lewis | NY | 1. Moses 230 kV substation 2. Haverstock 345 kV sub (new) 3. Massena 230 kV substation 4. Adirondack 345 kV sub (new) 5. Willis 230 kV substation 6. Ryan & Patnode 230 kV substations 7. Chases Lake 345 kV sub (new) 8. Marcy 345 kV sub 9. Edic 345 kV sub | Accepted Cost Allocation/IA in Progress | FS |  | NY Power Authority and National Grid , NYPA, NM-NG
NYISO | 1130 | Hoffman Falls Wind | 2021-01-27 | 72 | 72 | Wind | Madison | NY | Cortland - Fenner 115kV Line #3 | Accepted Cost Allocation/IA in Progress |  | 12-2027 | Liberty Renewables Inc. , NM-NG
NYISO | 1148 | Agricola Wind | 2021-03-10 | 97 | 97 | Wind | Cayuga | NY | Milliken to Wright Ave 115 kV line #973 | Accepted Cost Allocation/IA in Progress | SRIS | 12-2027 | Liberty Renewables Inc. , NYSEG
NYISO | 1150 | Moss Ridge Solar | 2021-03-16 | 60 | 60 | Solar | St. Lawrence | NY | Corning - Battle Hill 115 kV line #4 | Accepted Cost Allocation/IA in Progress | SRIS | 11-2028 | Moss Ridge Solar 1, LLC , NM-NG
NYISO | 1151 | York Run Solar | 2021-03-18 | 90 | 90 | Solar | Chautauqua | NY | Falconer - Warren 115 kV line #171 | Accepted Cost Allocation/IA in Progress | SRIS | 08-2026 | York Run Solar, LLC , NM-NG
NYISO | 1156 | Cody Road Wind Farm | 2021-04-08 | 19.9 | 19.9 | Wind | Madison | NY | Cortland - Fenner Line #3 115 kV | FS in Progress | FES, SIS | 07-2025 | Green Power Energy, LLC , NM-NG
NYISO | 1166 | BR Benson Mines Solar | 2021-05-07 | 12.1 | 12.1 | Solar | St. Lawrence | NY | Brown's Falls to Newton Falls #22 34.5kV Line | Accepted Cost Allocation/IA in Progress | SIS, FS | 10-2026 | BR Project 1 LLC , NM-NG
NYISO | 1171 | ELP Stuyvesant Solar | 2021-05-14 | 20 | 20 | Solar | Columbia | NY | Valkin - Falls Park 115 kV line #19 | FS in Progress | SIS | 11-2026 | ELP Stuyvesant Solar LLC , Transco
NYISO | 1183 | NY125A - Fort Covington Solar | 2021-05-20 | 250 | 250 | Solar | Franklin | NY | Moses-Willis 230 kV (MW1) | Accepted Cost Allocation/IA in Progress | SRIS | 08-2027 | Fort Covington Solar LLC , NYPA
NYISO | 1184 | NY125B - Two Rivers Solar | 2021-05-20 | 200 | 200 | Solar | St-Lawrence | NY | Moses-Willis 230kV (MW2) | Accepted Cost Allocation/IA in Progress | SRIS | 08-2027 | Boralex US Development , NYPA
NYISO | 1188 | North Seneca Solar Project, LLC | 2021-05-27 | 105 | 105 | Solar | Seneca | NY | Hooks Road - Elbridge 115kV line#7 | Accepted Cost Allocation/IA in Progress | SRIS | 09-2027 | North Seneca Solar Project , NM-NG
NYISO | 1194 | Crane Brook Solar Project, LLC | 2021-06-03 | 130 | 130 | Solar | Cayuga | NY | State St - Clinton Corn 115kV Line | Accepted Cost Allocation/IA in Progress | SRIS | 09-2027 | Crane Brook Solar Project , NM-NG
NYISO | 1213 | St Lawrence Data and Agricultural Center | 2021-06-28 | 200 | 200 | Load | St. Lawrence | NY | Dennison 115kV substation | SRIS/SIS Approved | SIS |  | Petawatt Holdings, Inc. , NM-NG
NYISO | 1227 | 18405 Scotch Ridge | 2021-08-04 | 20 | 20 | Solar | Schenectady | NY | Rotterdam-Schoharie 69kV line#18 | FS in Progress | SIS | 12-2025 | Nexamp Solar , NM-NG
NYISO | 1237 | Sugar Maple Energy Storage | 2021-08-24 | 20 | 20 | Energy Storage | Jefferson | NY | North Carthage-Taylorville #8 and Black River-Taylorville #2 115 kV lines | Accepted Cost Allocation/IA in Progress | SIS | 12-2026 | Sugar Maple Solar , NM-NG
NYISO | 1254 | Barrett Hempstead Battery Storage | 2021-09-22 | 40 | 40 | Energy Storage | Nassau | NY | Barrett to Long Beach 33 kV circuit No 1(33-224) | FS in Progress | SRIS | 03-2025 | Barrett Hempstead Battery Storage , LIPA
NYISO | 1255 | Holtsville Brookhaven Battery Storage | 2021-09-22 | 79.9 | 79.9 | Energy Storage | Suffolk | NY | Line 69-849 from West Yaphank to North Bellport | FS in Progress | SRIS | 03-2026 | Holtsville Brookhaven Battery Storage , LIPA
NYISO | 1256 | Canal Southampton Battery Storage | 2021-09-22 | 100 | 100 | Energy Storage | Suffolk | NY | Canal Substation 138kV | FS in Progress | SRIS | 03-2025 | Canal Southampton Battery Storage , LIPA
NYISO | 1257 | Edwards Calverton Battery Storage | 2021-09-22 | 60 | 60 | Energy Storage | Suffolk | NY | Edwards Avenue Substation at 138 kV | FS in Progress | SRIS | 03-2025 | Edwards Calverton Battery Storage , LIPA
NYISO | 1288 | CPNY-X | 2021-11-23 | 1300 | 1300 | DC | DE, Queens | NY | Fraser 345 kV and Rainey 345 kV substations | Accepted Cost Allocation/IA in Progress | SRIS | 12-2028 | Clean Path NY LLC , NYSEG, ConEd
NYISO | 1289 | Propel NY Energy - Alternate Solution 5 | 2021-10-11 |  |  | AC | Nassau, Queens, Bronx, Westchester | NY | Sprain Brook 345 kV; Tremont 345 kV; East Garden City 345 kV; Barrett 138 kV; East Garden City 138 kV; Shore Road 138 kV; Syosset 138 kV; Ruland Rd 138 kV | FS in Progress | SIS |  | NY Power Authority / NY Transco LLC. , LIPA, ConEd, NYPA
NYISO | 1308 | Richmond Spoke | 2021-12-02 |  |  | AC | Richmond | NY | Goethals - Gowanus 345 kV | SRIS/SIS Approved | SIS |  | NY Power Authority , ConEd
NYISO | 1313 | Queensbury BESS | 2021-12-12 | 20 | 20 | Energy Storage | Warren | NY | Queensbury 34.5 kV substation | FS in Progress | SIS | 12-2026 | Saturn Energy Storage LLC , NM-NG
NYISO | 1315 | SDC St. Lawrence | 2021-12-20 | 120 | 120 | Load | St. Lawrence | NY | Moses-Reynolds MRG-1 and Moses-Reynolds MRG-2 at 115kV | SRIS/SIS Approved | SIS |  | Sabey Data Center Properties, LLC , NYPA
NYISO | 1329 | ELP Granby Solar II | 2022-02-11 | 20 | 20 | Energy Storage + Solar | Oswego | NY | Curtis Street - Teall 115 kV | Accepted Cost Allocation/IA in Progress | FES, SIS, FS | 12-2026 | ELP Granby Solar II LLC , NM-NG
NYISO | 1365 | Queensboro Renewable Express Circuit A | 2022-04-15 |  |  | DC | Queens | NY | Rainey 345 kV substation and Vernon 138 kV substation | SRIS/SIS Approved | SIS |  | Queensboro Development, LLC , ConEd
NYISO | 1366 | Queensboro Renewable Express Circuit B | 2022-04-15 |  |  | DC | Queens | NY | Rainey 345 kV substation and Vernon 138 kV substation | SRIS/SIS Approved | SIS |  | Queensboro Development, LLC , ConEd
NYISO | 1435 | Kings Spoke | 2022-09-12 |  |  | AC | Kings | NY | Greenwood-Bensonhurst and Farragut-Brownsville 138 kV feeders | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation II , ConEd
NYISO | 1446 | Massena Green Hydrogen | 2022-10-05 | 110 | 110 | Load | St Lawrence | NY | Haverstock - Adirondack 345 kV line 1 | SRIS/SIS Approved | SIS |  | Air Products and Chemicals Inc , NYPA
NYISO | 1465 | Digihost load | 2022-11-14 | 50.2 | 50.2 | Load | Niagara | NY | Walck Rd. 115kV | SRIS/SIS Pending |  |  | Digihost Technologies, Inc. , NM-NG
NYISO | 1484 | 580 STAMP load increase | 2022-12-02 | 300 | 300 | Load | Genesee | NY | 115 kv STAMP substation | SRIS/SIS Approved | SIS |  | GCEDC , NM-NG
NYISO | 1530 | Westchester Wind | 2023-03-02 |  |  | AC | Westchester | NY | Sprainbrook-Eastview 345kV #1N, #1S, and #2S. | SRIS/SIS Pending |  |  | NY Power Authority , ConEd
NYISO | 1536 | White Pine Phase 1 | 2023-03-11 | 480 | 480 | Load | Onondaga | NY | Clay 345 kV Substation | SRIS/SIS Approved | SIS |  | Micron NY Semiconductor Manufacturing LLC , NM-NG
NYISO | 1555 | Liberty Green Line | 2023-05-12 |  |  | AC | NY County | NY | Con Edison W 49th St 345kV Substation | FES Pending |  |  | North Bergen Liberty Generating LLC , ConEd, PJM
NYISO | 1627 | Micron Fab 2 | 2023-10-31 | 576 | 507 | Load | Onondaga | NY | National Grid Clay 345 kV Substation | SRIS/SIS in Progress |  |  | Micron NY Semiconductor Manufacturing LLC , NM-NG
NYISO | 1646 | POWI Project | 2023-11-30 | 50 | 50 | Load | Albany | NY | New Scotland to Knickerbocker 345kV line | SRIS/SIS in Progress |  |  | P&M Brick LLC , NM-NG
NYISO | 1667 | Designated Public Policy Project Rainey Breaker Replacement | 2024-01-12 |  |  | AC | NY | NY | Rainey 345kV Substation | FS Pending |  |  | Consolidated Edison Company of NY , ConEd
NYISO | 1670 | Lake Mariner Data II | 2024-01-23 | 250 | 250 | Load | Niagara | NY | Kintigh 345kV Substation | SRIS/SIS in Progress |  |  | Lake Mariner Data LLC , NYSEG
NYISO | 1671 | Meyer Substation Rebuild and South Perry Substation Rebuild | 2024-02-02 |  |  | AC | Wyoming/Livingston | NY | Meyer 115kV, 34.5, 230kV South Perry 115kV, 34.5kV, 69kV | SRIS/SIS Pending |  |  | NYSEG , NYSEG
NYISO | 1672 | Ames Road Station | 2024-02-05 |  |  | AC | Montgomery | NY | 345kV Edic Princetown 351 345kV Edic Princetwon 352 115kV Saint Johnsville Mashville 11 115kV Clinton Marshville 12 | SRIS/SIS Pending |  |  | National Grid , NM-NG, NYPA
NYISO | 1681 | Niagara Digital Campus | 2024-04-09 | 140 | 140 | Load | Niagara | NY | Adams to Packard 115kV lines 187 and 188 | SRIS/SIS Pending |  |  | Niagara Falls Redevelopment LLC , NM-NG
NYISO | 1683 | Cayuga Compute | 2024-04-24 | 150 | 150 | Load | Tompkins | NY | Milliken substation 115kV | SRIS/SIS in Progress |  |  | Cayuga Operating Company, LLC , NYSEG
NYISO | 1685 | Clean Borough Power Link #1 | 2024-05-30 |  |  | DC | Richmond,Kings,Queens,West Chester | NY | Brooklyn Clean Energy Hub 345kV; Farragut 345kV; Goethals 345kV, Astoria Annex 345kV, Sprain Brook 345kV | SRIS/SIS Pending |  |  | energyRe Giga-Projects USA, LLC , CONED, NYPA
NYISO | 1686 | Clean Borough Power Link #2 | 2024-05-30 |  |  | DC | NY, Richmond, Kings | NY | Brooklyn Clean Energy Hub 345kV; Farragut 345kV; West 49 St - East13 St 345kV lines; Goethals 345kV, | SRIS/SIS Pending |  |  | energyRe Giga-Projects USA, LLC , CONED
NYISO | 1687 | Clean Borough Power Link #3 | 2024-05-30 |  |  | DC | Richmond, NY, Kings, Queens | NY | Brooklyn Clean Energy Hub 345kV; Mott Haven - Rainey 345kV lines; Rainey 345kV; Astoria West 138kV; Farragut 345kV; Astoria Annex 345kV, Goethals 345 kV | SRIS/SIS Pending |  |  | energyRe Giga-Projects USA, LLC , CONED, NYPA
NYISO | 1688 | Liberty Link 1 | 2024-05-31 |  |  | DC | Kings, Westchester, Richmond | NY | Brooklyn Clean Energy Hub (BCEH) 345kV, Farragut 345kV, Sprain Brook 345kV, Goethals 345kV | SRIS/SIS Pending |  |  | Viridon NY Inc. , Con Edison
NYISO | 1689 | Liberty Link 2 | 2024-05-31 |  |  | DC | Kings, Westchester, Richmond | NY | Brooklyn Clean Energy Hub (BCEH) 345kV, Farragut 345kV, Sprain Brook 345kV, Goethals 345kV | SRIS/SIS Pending |  |  | Viridon NY Inc. , Con Edison
NYISO | 1690 | Liberty Link 3 | 2024-05-31 |  |  | DC | Kings, NY, Richmond | NY | Brooklyn Clean Energy Hub (BCEH) 345kV, Farragut 345kV, W49th Street 345kV - E13th Street 345 kV lines, Goethals 345kV | SRIS/SIS Pending |  |  | Viridon NY Inc. , Con Edison
NYISO | 1691 | Energy Link NY Solution 1 | 2024-06-13 |  |  | DC | Kings, Westchester, Queens, Richmond | NY | Brooklyn Clean Energy Hub 345kV; Farragut 345kV; Goethals 345kV, Astoria Annex 345kV, Sprain Brook 345kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1692 | Energy Link NY Solution 2 | 2024-06-13 |  |  | DC | Kings, Westchester, Queens, Richmond | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Sprain Brook 345 kV, Astoria Annex 345 kV, Goethals 345 kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1693 | Energy Link NY Solution 3 | 2024-06-13 |  |  | DC | Kings, Westchester, Queens, Richmond | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Sprain Brook 345 kV, Astoria Annex 345 kV, Goethals 345 kV, Gowanus- Goethals 345 kV lines | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1694 | Energy Link NY Solution 4 | 2024-06-13 |  |  | DC | Kings, Westchester, Queens, Richmond | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Sprain Brook 345 kV, Astoria Annex 345 kV, Goethals 345 kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1695 | Energy Link NY Solution 5 | 2024-06-13 |  |  | DC | Kings, Richmond, Queens, Westchester | NY | Brooklyn Clean Energy Hub 345kV; Farragut 345kV; Goethals 345kV, Astoria Annex 345kV, Sprain Brook 345kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1696 | Energy Link NY Solution 6 | 2024-06-13 |  |  | DC | Kings, Westchester, Queens, Richmond | NY | Brooklyn Clean Energy Hub 345kV; Farragut 345kV; Rainey 345kV; Astoria West 138kV; Mott Haven - Rainey 345kV lines; Goethals 345kV; Astoria Annex 345kV; Sprain Brook 345kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1697 | Energy Link NY Solution 7 | 2024-06-13 |  |  | DC | Brooklyn & Staten Island | NY | Brooklyn Clean Energy Hub 345kV; Farragut 345kV; Rainey 345kV; Astoria West 138kV; Mott Haven - Rainey 345kV lines; Goethals 345kV, Astoria Annex 345kV; Sprain Brook 345kV; Gowanus- Goethals 345kV lines | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1698 | Energy Link NY Solution 10 | 2024-06-13 |  |  | DC | Kings, Westchester, Queens, Richmond | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Sprain Brook 345kV , Astoria Annex 345kV , Goethals 345kV , Mott Haven - Rainey 345kV substations, Gowanus - Goethals 345kV , Astoria West 345 kV, Rainey 345 kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED, NYPA
NYISO | 1699 | Five Boro Energy Connect ? Mint | 2024-06-13 |  |  | DC | Kings,Queens,NY,Bronx,DE, | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Academy 345kV, Mott Haven 345kV, Astoria Annex 345kV, Fraser 345kV | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , CONED, NYPA, NYSEG
NYISO | 1700 | Energy Link NY Solution 8 | 2024-06-15 |  |  | DC | Kings,Bronx,Queens,Westchester,Richmond | NY | Brooklyn Clean Energy Hub 345kV; Mott Haven 345kV; Rainey 345kV; Gowanus 345kV; Sprain Brook 345kV ; Goethals 345 kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED
NYISO | 1701 | Energy Link NY Solution 9 | 2024-06-15 |  |  | DC | Kings,Bronx,Queens,Westchester,Richmond | NY | Brooklyn Clean Energy Hub 345kV; Mott Haven 345kV; Rainey 345kV; Gowanus 345kV; Sprain Brook 345kV, Goethals 345 kV | SRIS/SIS Pending |  |  | NY Transco LLC , CONED
NYISO | 1702 | Five Boro Energy Connect ? Sage | 2024-06-15 |  |  | DC | Kings, Queens, NY, Bronx | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Academy 345 kV, Astoria Annex 345 kV, Mott Haven 345 kV, Mott Haven - Rainey 345 kV Lines, | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , CONED, NYPA
NYISO | 1703 | Five Boro Energy Connect - Ruby | 2024-06-15 |  |  | DC | Kings, Queens, NY, Bronx | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Rainey 345 kV, West 49 Street 345 kV, Mott Haven 345 kV, Astoria Annex 345 kV, Mott Haven - Rainey 345kV Lines | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , CONED, NYPA
NYISO | 1704 | Five Boro Energy Connect - Rose | 2024-06-15 |  |  | DC | Kings, Queens, NY, Bronx | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Rainey 345 kV, West 49 Street 345 kV, Mott Haven 345 kV, Astoria Annex 345 kV, Mott Haven - Rainey 345kV Lines | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , CONED, NYPA
NYISO | 1705 | Five Boro Energy Connect ? Olive | 2024-06-15 |  |  | DC | Kings/Queens/NY/Bronx/DE | NY | Brooklyn Clean Energy Hub 345 kV, Farragut 345 kV, Rainey 345 kV, Academy 345 kV, Mott Haven 345 kV, Astoria Annex 345kV , Fraser, Mott Haven - Rainey 345kV Lines, | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , CONED, NYPA, NYSEG
NYISO | 1706 | Five Boro Energy Connect ? Kelly | 2024-06-17 |  |  | DC | Kings, Queens, NY, Bronx | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Academy 345kV, Mott Haven 345 kV, Astoria Annex 345kV, Tremont 345kV, Mott Haven - Rainey 345kV Lines, | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA
NYISO | 1707 | Five Boro Energy Connect ? Hazel | 2024-06-17 |  |  | DC | Kings/Queens/NY/Bronx/DE | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Academy 345kV, Mott Haven 345kV, Astoria Annex 345kV, Fraser 345kV, Mott Haven - Rainey 345kV Lines, | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA, NYSEG
NYISO | 1708 | Five Boro Energy Connect ? Navy | 2024-06-17 |  |  | DC | Kings,Queens,Bronx,Richmond,Westchester | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Astoria Annex 345kV, Mott Haven 345kV, Rainey 345kV, Dunwoodie 345kV, Sprain Brook 345kV, Gowanus - Goethals 345kV Lines, Mott Haven - Rainey 345kV Lines, Gowanus 345 kV | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA
NYISO | 1709 | Five Boro Energy Connect ? Royal | 2024-06-17 |  |  | DC | Kings,Queens,Bronx,Richmond,Westchester, | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Astoria Annex 345kV, Mott Haven 345kV, Tremont 345kV, W49th St 345kV, Gowanus - Goethals 345kV Lines, Mott Haven - Rainey 345kV Lines, Gowanus 345 kV | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA
NYISO | 1710 | Five Boro Energy Connect ? Golden | 2024-06-17 |  |  | DC | Kings,Queens,NY,Bronx,Westchester,Delawa | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Academy 345kV, Astoria Annex 345kV, Mott Haven 345kV, Dunwoodie 345kV, Fraser 345kV, Vernon 138kV, Mott Haven - Rainey 345kV Lines | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA, NYSEG,
NYISO | 1711 | Five Boro Energy Connect ? Honey | 2024-06-17 |  |  | DC | Kings,Queens,NY,Bronx,DE | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Academy 345kV, Astoria Annex 345kV, Mott Haven 345kV, Vernon 138kV, Fraser 345kV, | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA, NYSEG,
NYISO | 1712 | Five Boro Energy Connect ? Cobalt | 2024-06-17 |  |  | DC | Kings,Queens,NY,Bronx,Richmond,DE | NY | Brooklyn Clean Energy Hub 345kV, Farragut 345kV, Rainey 345kV, Academy 345kV, Astoria Annex 345kV, Mott Haven 345kV, Gowanus - Goethals 345kV Lines, Mott Haven - Rainey 345kV Lines, Fraser 345kV, Gowanus 345 | SRIS/SIS Pending |  |  | NY Power Authority & LS Power Grid NY Corporation I , Con Edison, NYPA, NYSEG
NYISO | 1713 | Project Sycamore Orangeburg | 2024-06-19 | 25.3 | 25.3 | Load | Rockland | NY | Oak Street 138kV | SRIS/SIS Pending |  |  | Project Sycamore - Orangeburg , O&R
NYISO | 1714 | Hudson Valley Data Center | 2024-07-02 | 25 | 25 | Load | Rockland | NY | Line 60 138KV - Ramp to Tallman | SRIS/SIS Pending |  |  | Robert Delcalzo , O&R
NYISO | 1715 | 1547 CSR - Orangeburg LLC | 2024-07-02 | 60 | 60 | Load | Rockland | NJ | 138kV Line 703 between Corporate Drive and Harings Corner | SRIS/SIS Pending |  |  | Jerry Martin , O&R
NYISO | 1716 | Orangeburg Expansion Phase 2 | 2024-08-05 | 60 | 60 | Load | Orange | NY | Oak St 38kV substation | SRIS/SIS Pending |  |  | DataBank Holdings, LLC , O&R
NYISO | 1717 | Proposed Datacenters at 450 Broadway, Buchanan, NY, 10511 | 2024-08-07 | 200 | 200 | Load | Westchester | NY | Buchanan 138kV Substation | SRIS/SIS Pending |  |  | Holtec Decommissioning International (HDI) , ConEd
NYISO | 1718 | Erie East BESS | 2024-09-10 |  |  | AC | Erie | PA | Erie East 230kV (First Energy, Erie PA) | Scoping Meeting Pending |  |  | Seven Creek Energy, LLC , PJM
NYISO | 1719 | NY State Artificial Intelligence Data Center | 2024-09-18 | 300 | 300 | Load | St. Lawrence | NY | Dennison 115kV substation | SRIS/SIS Pending |  |  | ZeroC Data Centers, LLC , NM-NG
NYISO | 1720 | Elk Run Storage | 2024-10-16 |  |  | AC | Tioga | PA | Mainesburg 115 kV Substation | Scoping Meeting Pending |  |  | Elk Run Storage LLC , PJM
NYISO | 1721 | Brookhaven Logistics Center | 2024-10-28 | 176.6 | 176.6 | Load | Suffolk | NY | 138-872 Holbrook to Sills Rd or 138-873 West Bus to Sills Rd. | SRIS/SIS Pending |  |  | WF Industrial XII LLC , LIPA
NYISO | 1722 | Treebeard BESS | 2024-10-29 |  |  | AC | New Milford | CT | 115 kV line 1555 between Rocky River and Bulls Bridge substations | Scoping Meeting Pending |  |  | Treebeard BESS Project Co LLC , ISO-NE
NYISO | 1723 | Olean Digital Data Center | 2024-11-07 | 150 | 150 | Load | Cattaraugus | NY | Homer Hill - Olean 115kV | SRIS/SIS Pending |  |  | Olean Digital LLC , NM-NG
NYISO | 1724 | Alcoa East Energy Allocation Project | 2024-12-09 | 200 | 200 | Load | St. Lawrence | NY | Haverstock - Willis 345kV lines HW1 & HW2 | Scoping Meeting Pending |  |  | Alcoa , NYPA